## Slide 1: 4 Hour Class Group Workshops

## Slide 2: Workshop A

## Slide 3: Hazard Identification Exercise
Break into groups of 4-5
Each team will identify the hazards in their photo and present them to the class

## Slide 4: Identify the Hazards

## Slide 5: Identify the Hazards
No Access/Egress
Spoil too close to edge
Potential stability issues
Loose soil/rocks

## Slide 6: Identify the Hazards

## Slide 7: Identify the Hazards
Water Accumulation
The first bench has to be double the height to a max of 4’. So if the bench is 4’ (A) tall the width would have to be 8’ (B)
No Access/Egress
Were utilities marked?
Loose soil/rocks
Potential Depths of over 20 ft.
Improper Bench
This has caused the slope to become too shear

## Slide 8: Identify the Hazards

## Slide 9: Identify the Hazards
Water Accumulation
Potential Depths of over 10 + ft.
Were utilities marked?
Loose soil/rocks
No Access/Egress
Sidewall is not protected by either a slope, shore, shield, or bench

## Slide 10: Identify the Hazards

## Slide 11: Identify the Hazards
Improper Bench
Incorrect Slope.
Vertical for 4-5ft, should start at the base
No Access/Egress

## Slide 12: Workshop B

## Slide 13: Soil Testing Exercise
Take 1 play-doh per person
Watch the video below and follow along from minute mark 5:20 to 10:02

## Slide 14: Soil Classification Exercise
Review and classify different soil types
Groups of 3-4
Instructor will distribute “soil” jars to each group

## Slide 15: Workshop C

## Slide 16: Observe “Apparent” Cohesion
Brief, this exercise will only take a few minutes
Take 1 container of beads containing water
Rotate the container to simulate a primary and secondary cave-in failure
Discuss Cohesion